## Slide 1: SlicerIGT tutorial 2017
brain surgery navigation with live tractography

## Slide 2: Prerequisites
This tutorial can be completed without any previous tutorials, but the following tutorials are recommended before this one
Slicer4 Minute Tutorial from https://www.slicer.org/wiki/Documentation/4.8/Training
SlicerIGT tutorials from http://www.slicerigt.org/wp/user-tutorial/

## Slide 3: Install Slicer
Visit http://download.slicer.org/
Download Slicer version 4.8 (blue buttons) for your operating system
Run the downloaded installer
Start up Slicer
1

## Slide 4: Install Slicer extensions
1. click
6. click
7. click
3. click
4. click
5. click
2. Find and install these extensions: SlicerIGT, Sequences, SlicerDMRI

## Slide 5: Approve restart of Slicer (if asked)
1. check
2. click

## Slide 6: Verify extensions installed

## Slide 7: Download tutorial data
Visit the tutorial website: http://www.slicerigt.org/wp/smit-2017-tutorial/
Download the tutorial data ZIP file
Unzip the contents (e.g. in your home folder)

## Slide 8
Open dialog

## Slide 9
1
2
3
2
2

## Slide 10
1

## Slide 11: About the loaded data
SkullCtModel.stl: Segmentation from CT scan of the plastic skull model
  loaded as model
MRI.nrrd: Magnetic resonance image of a person. (not the same one the plastic model was based on)
  loaded as a scalar volume
DTIVolume.nhdr: Diffusion tensor image (from a third person)
  loaded as a tensor volume
All three are already roughly registered (overlap)

## Slide 12
1
2

## Slide 13
Try 3D interactions
Mouse left button drag – rotations
Mouse wheel – zoom
Mouse middle button drag – panning
Try 2D interactions
Mouse wheel – change slice
Mouse right button drag – zoom
Mouse middle button drag – panning
Mouse left button drag – intensity windowing

## Slide 14
select
1
2

## Slide 15
2. Press once
1. see
You won’t see anything after you press this button, but don’t worry.

## Slide 16
3
4
Rename to “StylusTip”
1
2. see
4. Right click

## Slide 17
1. Right-click on Scene
2
Double-click to rename new transform

## Slide 18
1
2
3

## Slide 19: Connect to the PLUS computer
If you are not connected yet…
Connect to SlicerIGT2 WiFi (or SlicerIGT1, but that is slower)
  Password: slicerigt
There will be no internet, just local network

## Slide 20
2
3. type: 192.168.0.2
4. Check Active
5. Should turn ON
1. see

## Slide 21
3. Drag and drop nodes to create this transform hierarchy
1
2. see

## Slide 22
Checkpoint 01

## Slide 23
3. select
1
2

## Slide 24
1
2
3 (optional)
4
5. visualize blue stick
WAIT! 6
Make sure to start pivot calibration when the physical tool is pivoting
Start pivot calibration again until the blue stick rotates around its tip
Under 1 mm RMSE is acceptable now
8 see
WAIT! 7

## Slide 25
1

## Slide 26
1
2 see
3 right-click
4
5 rename to “ReferenceToRas”
RAS is usually our patient coordinate system
6 drag and drop

## Slide 27
3. select
1
2

## Slide 28
1. see
2
3
4. Create “RasPoints”
5. select
New name “ReferencePoints”

## Slide 29
Make sure this button is unchecked when interacting with 3D viewer!
1

## Slide 30
Set up 3D viewer like this
1
2
3

## Slide 31
Set up 3D viewer like this
1
2
3

## Slide 32
Set up 3D viewer like this
1
2
3

## Slide 33
Set up 3D viewer like this
1
2
3

## Slide 34
Set up 3D viewer like this
1
2
3

## Slide 35
Set up 3D viewer like this
1
2
3
4. See “3”

## Slide 36
Checkpoint 02

## Slide 37
1
2. Select “StylusTipToStylus”
When you press
this button (called “From”),
a new point will be created in
this list (called “From”)
3. Wait for presenter’s signal before pressing this button

## Slide 41
See
uncheck
See
select

## Slide 42: Troubleshooting
Delete
1
2. see
How to reset registration
3
How to redo one point
Very important to reset before starting a new registration!

## Slide 43
Checkpoint 03

## Slide 44
2
1
3. Volume Reslice Driver

## Slide 45
1
2

## Slide 46
2. see
1
3
4
5. see

## Slide 47
1. module history
2. Back to Volume Reslice Driver

## Slide 49
Checkpoint 04

## Slide 50
2. see
1
3

## Slide 51
1
2. click anywhere
3. double-click each coordinate and set to zero

## Slide 52
1
2. drag and drop “F” here
result

## Slide 53
1
2. double-click
3
4

## Slide 54
1 double-click
2

## Slide 55
Tractography Seeding

## Slide 56
1
2
3
see result